## SMU Questionnaire
|  | AMSEnergy Corp | Calnetix Technologies & Access Energy | Concepts NREC | CSE Industries | Echogen Power Systems-1 | Echogen Power Systems-2 | GeoTek Energy, LLC | Helidyne Gas Expander | Infinity Turbine LLC | Kaishan Compressor
Company Information | Contact Name | Michael Sams | Herman Artinian | Jim McNamara | Peter Fazio |  |  | Richard Darlow | Kevin Kerlin | Gregory Giese | Mike Booth
| Contact Title | CEO & President | VP | Manager, ORC Systems and Engineering Sales | COO |  |  | Vice President | President / CEO | President | Sales
| Contact Phone Number | 615-852-8412 | 562-293-1660 | 802.280.6126 | 347-461-8700 | 234-542-4379 | 234-542-4379 | 214-878-2832 | 435-619-5268 | 608-238-6001 | 770-296-7941
| Contact Email | michael.sams@amsenergy.com | hartinian@calnetix.com | jmcnamara@conceptsnrec.com | pfazio@cseind.com | info@echogen.com | info@echogen.com | rick.darlow@geotekenergy.com | kkerlin@helidynepower.com | greg@infinityturbine.com | c.michaelbooth@kaishangroup.com
| Company Name | AMSEnergy Corp | Calnetix Technologies & Access Energy | Concepts NREC | Peter Fazio | Echogen Power Systems | Echogen Power Systems | GeoTek Energy, LLC | Helidyne LLC | Infinity Turbine LLC | Kaishan Compressor
| Company Phone Number | 615-852-8412 |  | 802-296-2321 |  | (234) 542-4379 | (234) 542-4379 |  | 435-627-1805 | 608-238-6001
| Company Website | www.amsenergy.com | www.calnetix.com, www.access-energy.com | http://www.conceptsnrec.com/ | www.cseind.com | www.echogen.com | www.echogen.com | http://www.geotekenergy.com/ | www.helidynepower.com | www.infinityturbine.com | http://www.kaishancompressor.com/
| Address | 1111 Bear Creek Pike | 13632 Shoemaker | 217 Billings Farm Road | 60 East 42 street NY, NY 10165 | 365 Water St | 365 Water St | 6170 Research Road | 1425 W. Red Ledge Rd. Ste 102 | PO BOX 5617
| City | Columbia | Cerritos | White River Junction |  | Akron | Akron | Frisco | Washington | Madison
| State | TN | California | VT |  | OH | OH | TX | UT | WI
| Zip | 38401 | 90703 | 05001-9486 |  | 44313 | 44313 | 75033 | 84780 | 53705
Equipment Specification | Model Name | Heat Pipe Heat Exchanger | Thermapower MT 125 & XLT 125 | CN300 | PwrCor | EPS100 | EPS30 | ThermalDrive™ Power System | Planetary Rotor Expander | IT10, IT50, IT100, IT250, IT500, IT1MW, IT2MW
| Model Number | Will vary upon design |  | CN300 |  |  |  | TDPS XXXXX | 4400
| Gross Output (kW) | xxkW-xxMW | 125kW | 330 | 125-500kw | 8000 | 1500 | 500kW - 6.0 MW | 65 | 12, 60, 120, 300, 600, 1,200 and 3,000 | 35 kW - 2.5 MW
| Net (kW) | xxkW-xxMW | 115kW | 300 | parisitic about 3% | 7300 | 1350 | 400 kW - 5.0 MW | 60 | Same as Model Name
| Range of inlet fluid temperatures (°C) | -50 | 85C to 150C | 180–425°F (80–220°C) | 180-185F | 450-600 |  | 110⁰ C - 205⁰ C | 176 C | 80-120 C | 180°F to 500°F
| Range of outlet fluid temperature (°C) | 1000 |  | not limited | 140F | 85-200 |  |  | 10 C | 15 C less than input temperature
| Phase options |  | 3 | 1, 3 | depends on generator, |  |  | 3 Phase | 3 phase only | DC for IT10 and 3 Phase for all other models | 3 Phase
| Hz options |  | 50 & 60Hz | 50, 60 | same |  |  | 50 or 60 HZ | 50 or 60 | 50/60 Hz | 50 or 60 HZ
| Output voltage |  | 380 to 500 | 380–500 VAC | same |  |  | 480 V or 400 V | 220 or 480 V | 480 V | 480 or 400
| Voltage supplied |  | same as above |  | 120/208 |  |  |  | N/A
| Remote monitoring (Y/N) |  | Y |  | Y |  |  | Y | Y | Y | Y
| Remote Operation (Y/N) |  | Y |  | N |  |  | Y | Y (Stand alone or Grid connection) | Y | Y
| Working fluid(s) | depend on temp's and energy streams | R245fa | R112, R113, R114, R134a, R236fa, R245fa | liquid C02 | supercritical CO2 | supercritical CO2 | R125, R134a, R236fa, R245fa | Methane, Nitrogen, Air, Steam | 134 and 245 | Steam, R245fa
| Outdoor / indoor / both | both | both | both | both | both | both | Both | Both | both | both
| Dimensions | various | 3' x 5' H x 7' long | (1.07 m x 0.62 m x 0.87 m) | 30x8 7high |  |  |  | 10' X 5' X 5'
| Weight | various | 4000kg | 1,200 pounds (544 kg) | 20,000 lbs |  |  |  | 5,000 lbs
NEMA level
| Installation (Pad/ Mobile/ Other) | typically a pad | mobile | Either | either | skid-mounted | skid-mounted | Skid Mounted | Pad
Cooling Requirement | Cooling / Condensing Equipment Included? (Y/N) |  | N | Y | N |  |  | Y | N | Water cooled condenser included. | Y
| Cooling / Condensing Source (air, water, flexible?) |  | Yes | Flexible | water | flexible | flexible | Air/Evap Cooled/Water Cooled | N/A | Water | Air Cooled/Evap Cooled/Water Cooled
| Can existing condensing be integrated? |  | yes | Y | Y | yes | yes | yes | N/A | Yes | yes
Maintenance and Warranty | Provide a Maintenance plan (Y/N) | Y | Y | through third party partner | Y | yes | yes | Y | Y (United States Only) | N | Y
| Maintenance interval (i.e. every ### hours) | If gets internally plugged/dirty | yes: 8000hrs; N/A: Application Specific; Yes: 1000; yes: 5 years
| Provide operator training (Y/N) - How long? | N/A | Y, 2 day | Y | Y |  |  | Y | Y | N | Y TBD
| Performance guarantee | yes--if requested at cost | Not usually | Y | 1 year |  |  | Y | Y | Y | y
| Warranty length | negotiable | 1 year standard | 1-yr | 1 year + |  |  |  | 1 year | 12 months | 5 years
Shipping and Assembly | Delivery time | 12-14 wks typically quoted | 5 months | 12 mo | 120 days |  |  |  | 6 -8 months | 2-6 months | 3 months
| Shipping method | air/sea | Y: container; N/A: Freight; Yes: Container; yes: ocean freight
| Shipping (Domestic/ International/ both) | both | yes: both; Y: both; Y: both; N/A: Both; Yes: Both
| Shipping included in price (Y/N) | N--available | bar: yes to yes
| Insulation for HE and Pipe (Y/N) | available | bar: yes to yes
Operation History | In development phase (Y/N) | N | N | Y | Y | Yes | Yes | Y | N | N | N
| Number of machines sold or in operation | many | yes: over 300 units; Y: 0; N/A: 4 units sold to date; Yes: Confidential; yes: 50
| Approx. hours in operation | many | yes: most application are 24/7; yes: 50000
Sales and Costs | Equipment sold through main company (Y/N) | N | bar: yes to Y; N/A to Yes
| Distributor contact Name | See above | Y: n/a
Distributor address
Distributor email
Distributor phone
| Equipment cost (optional) | varies on size | Y: 3.00 watt; N/A: Project Based
| Installation fees (optional) | varies on size | bar: Y
| Maintenance fees (optional) | varies on size | Y: Y; N/A: Negotiable
Installation and Commissioning | Installation includes engineering and labor to interface heat source with technology (Y/N) | N--available | bar: yes to yes
| Installation includes engineering and labor to interface condensing source with technology (Y/N) | N--available | bar: yes to yes
| Special installation equipment required, i.e. crane, cherry picker, fork lift (Y/N) if Y list size/capacity | Y--depends on size | yes: N; Y: Y; N/A: Forklift; Yes: Depends on size
| Does installation include grid connection (Y/N) | N/A | yes: Y; Y: At additional cost; Yes: N
| Equipment requires license to operate (Y/N) | N | bar: yes to yes
| Commissioning included (Y/N) | N--available | bar: yes to yes
Comments |  |  | Y: Concepts NREC is primarily a turbomachinery consultant, providing design, engineering and prototype hardware to our clients. As such, most of our work is custom for our clients who will then manufacture it at their dsiscretion. The CN300, described above is a 300 kW nominal, hermetically sealed turbine generator that we have available for commercial sale. It can be skid packaged as a complete unit or sold separately as a turbogenerator to be integrated by the end-user.; yes: Expected commercial availability: Q4 2014; yes: Expected commercial availability: Q3 2016. Specifically designed for marine applications; N/A: A geothermal version of our technology has not been commercialized yet, however we do offer – and have sold- waste pressure recovery equipment.