## 2018 CS Inventory
2018-08-03
| IDENTIFIED CONFINED SPACE - 2018 V2 |  |  |  |  | HAZARDS |  |  |  |  | Permit Required Space? | Permanent Signage Required at Entry Point? | Sq Ft Area
| Building / Location | Function | Identification Number | Description | Coordinates | Chemical | Atmospheric | Electrical | Temperature | Other | Yes / No | Yes / No
| Annette Caldwell Simmons Hall | Transformer Vaults | CS-001 |  |  |  | x | x |  | x | Yes | Yes
| Annette Caldwell Simmons Hall | Storm Sumps | CS-002 |  |  |  | x |  |  | x | Yes | Yes
| Bishop BLVD / Binkley Ave | Medium Voltage Vaults | CS-003 | In grass of Bishop Blvd south of Binkley |  |  | x | x |  | x | Yes | Yes
| Boaz Commons | Transformer Vaults | CS-004 | north of building at east of center |  |  | x | x |  | x | Yes | Yes
| Bridwell Library | Storm Sumps | CS-005 |  |  |  | x |  |  | x | Yes | Yes
| Bridwell Library | Storm Sumps | CS-006 |  |  |  | x |  |  | x | Yes | Yes
| Bridwell Library, Smith & Perkins, Perkins Chapel | Transformer Vaults | CS-007 | west of building in parking lot |  |  | x | x |  | x | Yes | Yes
| Carr Collins Hall | Electrical Vault | CS-008 | Northeast of building near parking lot | 32.846208, -96.785047 |  | x | X |  |  | Yes
| Carr Collins Hall | Storm Sump | CS-009 | Northeast of building near parking lot | 32.846208, -96.785047 |  | x |  |  | X | Yes
| Carr Collins Hall | Return Air Pit | CS-010 | North of building near parking lot |  |  | x |  |  | X | Yes
| Carr Collins Hall | Air Handler Unit | CS-011 | Mechanical room B01ME | 32.846101, -96.785587 |  | x | X |  |  | Yes
| Carr Collins Hall | Boiler | CS-012 | Mechanical room B01ME | 32.846101, -96.785587 |  | x |  | X |  | Yes
| Carr Collins Hall | Tunnel | CS-013 | Mechanical room B01ME | 32.846101, -96.785587 |  | x |  |  | X | Yes
| Carr Collins Hall | Crawl Space | CS-014 | Opposite to mechanical room B01ME door | 32.846127, -96.785513 |  | x |  |  | X | Yes
| Carr Collins Hall | Air Handler Unit | CS-015 | Attic |  |  | x | X |  |  | Yes
| Carr Collins Hall | Air Handler Unit | CS-016 | Attic |  |  | x | X |  |  | Yes
| Caruth Hall | Storm Sumps | CS-017 |  |  |  | x |  |  | x | Yes | Yes
| Cements Hall to Hughes Trigg Student Center | Tunnel | CS-018 |  |  |  | x |  |  | x | Yes | Yes
| Clements Hall | Transformer Vaults | CS-019 | north of building in the middle |  |  | x | x |  | x | Yes | Yes
| Clements Hall | Medium Voltage Vaults | CS-020 | Empty vault north side of Clements |  |  | x | x |  | x | Yes | Yes
| Clements Hall | Mechanical Vaults | CS-021 |  |  |  | x | x |  | x | Yes | Yes
| Cockrell-McIntosh Commons | Transformer Vaults | CS-022 | east side of building near entrance |  |  | x | x |  | x | Yes | Yes
| Cockrell-McIntosh Commons | Storm Sumps | CS-023 |  |  |  | x |  |  | x | Yes | Yes
| Collins Center (Crum Auditorium) | Storm Sumps | CS-024 |  |  |  | x |  |  | x | Yes | Yes
| Collins Exec. Center | Transformer Vaults | CS-025 | 2 vaults south of building in porch |  |  | x | x |  | x | Yes | Yes
| Crum Basketball Center | Transformer Vaults | CS-026 |  |  |  | x | x |  | x | Yes | Yes
| Dallas Hall | Transformer Vaults | CS-027 | north west corner near parking lot |  |  | x | x |  | x | Yes | Yes
| Dallas Hall | Mechanical Vaults | CS-028 |  |  |  | x | x |  | x | Yes | Yes
| Dawson Service Center to Patterson Hall | Tunnel | CS-029 |  |  |  | x |  |  | x | Yes | Yes
| Dedman Life Science Building | Air Handler Unit | CS-030 | Attic | 32.845971, -96.783203 |  | x | X |  |  | Yes
| Dedman Life Science Building | Air Handler Unit | CS-031 | Attic | 32.845971, -96.783203 |  | x | X |  |  | Yes
| Dedman Life Science Building | Crawl Space | CS-032 | Attic | 32.845971, -96.783203 |  | x |  |  | X | Yes
| Dedman Life Science Building | Crawl Space | CS-033 | Attic | 32.845971, -96.783203 |  | x |  |  | X | Yes
| Dedman Life Science Building | South Duct Chase Access | CS-034 | Attic | 32.845971, -96.783203 |  | x |  |  | X | Yes
| Dedman Life Science Building | Crawl Space | CS-035 | Outside of mechanical room 010 | 32.845643, -96.783065 |  | x |  |  | X | Yes |  | 1/3 of building to south
| Dedman Life Science Building | Storm Sump | CS-036 | Mechanical room 010 | 32.845643, -96.783065 |  | x |  |  | X | Yes
| Dedman Life Science Building | Sanitory Sump | CS-037 | Mechanical room 010 | 32.845643, -96.783065 |  | x |  |  | X | Yes
| Dedman Life Science Building | Chase | CS-038 | Mechanical room 010 | 32.845643, -96.783065 |  | x |  |  | X | Yes |  | 200x10xH
| Dedman Life Science Building | Air Handler Unit | CS-039 | Mechanical room 010 | 32.845871, -96.783061 |  | x | X |  |  | Yes
| Dedman Life Science Building | Fire Sprinkler Vault | CS-040 | Southeast of building | 32.845352, -96.783063 |  | x | X |  |  | Yes |  | 5'
| Embrey Engineering Building | Transformer Vaults | CS-041 |  |  |  | x | x |  | x | Yes | Yes
| Embrey Engineering Building | Storm Sumps | CS-042 |  |  |  | x |  |  | x | Yes | Yes
| Fincher Building | Storm Sumps | CS-043 |  |  |  | x |  |  | x | Yes | Yes
| Fincher Hall | Transformer Vaults | CS-044 | south east outside corner |  |  | x | x |  | x | Yes | Yes
| Florence Hall | Electrical Vault | CS-045 | South of building | 32.845453, -96.785973 |  | x | X |  |  | Yes
| Florence Hall | Storm Sump | CS-046 | Southeast of building near walkway | 32.845453, -96.785973 |  | x |  |  | X | Yes
| Florence Hall | Tunnel Entrance | CS-047 | Southeast of building next to the wing | 32.845412, -96.785951 |  | x |  |  | X | Yes |  | 24'
| Florence Hall | Tunnel Entrance | CS-048 | Northeast of building, southside of walkway | 32.845684, -96.785856 |  | x |  |  | X | Yes
| Florence Hall | Tunnel Intersection | CS-049 | Northeast of building, norththside of walkway | 32.845684, -96.785856 |  | x |  |  | X | Yes |  | 5x5x10
| Florence Hall | Crawl Space | CS-050 | Mechanical room 101ME | 32.845629, -96.786081 |  | x |  |  | X | Yes
| Florence Hall | Boiler? | CS-051 | Mechanical room 101ME | 32.845629, -96.786081 |  | x |  | X |  | Yes
| Florence Hall | Crawl Space | CS-052 | Mechanical room 101ME | 32.845629, -96.786081 |  | x |  |  | X | Yes
| Florence Hall | Air Handler Unit | CS-053 | Mechanical room 102ME | 32.845594, -96.786110 |  | x | X |  |  | Yes
| Florence Hall | Air Handler Unit | CS-054 | Above Handicap restroom 301RR | 32.845599, -96.786181 |  | x | X |  |  | Yes
| Florence Hall | Air Handler Unit | CS-055 | Above Handicap restroom 301RR | 32.845599, -96.786181 |  | x | X |  |  | Yes
| Fondren Library | Transformer Vaults | CS-056 | south of building right side of dock |  |  | x | x |  | x | Yes | Yes
| Fondren Library Center East | Storm Sumps | CS-057 |  |  |  | x |  |  | x | Yes | Yes
| Fondren Library Center West | Storm Sumps | CS-058 |  |  |  | x |  |  | x | Yes | Yes
| Fondren Science Building | Air Handler Unit | CS-059 | Southeast of building | 32.846294, -96.783722 |  | x | X |  |  | Yes
| Fondren Science Building | Crawl Space | CS-060 | Mechanical room 56ME | 32.846294, -96.783722 |  | x |  |  | X | Yes
| Fondren Science Building | Tunnel | CS-061 | Mechanical room A under east stair | 32.846388, -96.783467 |  | x |  |  | X | Yes
| Fondren Science Building | Storm Sump | CS-062 | Mechanical room A under east stair | 32.846388, -96.783467 |  | x |  |  | X | Yes
| Fondren Science Building | Crawl Space | CS-063 | Mechanical room A under east stair | 32.846388, -96.783467 |  | x |  |  | X | Yes
| Fondren Science Building | Air Handler Unit | CS-064 | Mechanical room A under east stair | 32.846388, -96.783467 |  | x | X |  |  | Yes
| Fondren Science Building | Air Handler Unit | CS-065 | Attic |  |  | x | X |  |  | Yes
| Fondren Science Building | Air Handler Unit | CS-066 | Attic |  |  | x | X |  |  | Yes
| Fondren Science Building | Air Handler Unit | CS-067 | Attic |  |  | x | X |  |  | Yes
| Fondren Science Building | Electrical Vault | CS-068 | Mechanical room A under east stair | 32.846314, -96.783236 |  | x | X |  |  | Yes
| Fondron Library Science Information Center | Transformer Vaults | CS-069 |  |  |  | x | x |  | x | Yes | Yes
| Garson Theater, O.F.A.C. | Transformer Vaults | CS-070 | south of building near the doors |  |  | x | x |  | x | Yes | Yes
| Greer Garson Theatre | Storm Sumps | CS-071 |  |  |  | x |  |  | x | Yes | Yes
| Hamon Arts Library, O.F.A.C. | Transformer Vaults | CS-072 | north of building near the doors |  |  | x | x |  | x | Yes | Yes
| Harold Clark Simmons Hall | Transformer Vaults | CS-073 |  |  |  | x | x |  | x | Yes | Yes
| Hawk Hall | Heat Exchanger Tank Manways | CS-074 |  |  |  | x |  | x | x | Yes | Yes
| Health Center to North and South Tunnels | Tunnel | CS-075 |  |  |  | x |  |  | x | Yes | Yes
| Heroy Building | Electrical Vault | CS-076 | West of building | 32.846085, -96.784496 |  | x | X |  |  | Yes
| Heroy Building | Air Handler Unit | CS-077 | Attic |  |  | x | X |  |  | Yes
| Heroy Building | Air Handler Unit | CS-078 | Attic |  |  | x | X |  |  | Yes
| Heroy Building | Air Handler Unit | CS-079 | Attic |  |  | x | X |  |  | Yes
| Heroy Building | Air Handler Unit | CS-080 | Attic |  |  | x | X |  |  | Yes
| Heroy Building | Air Handler Unit | CS-081 | Mechanical room G02ME | 32.846394, -96.784223 |  | x | X |  |  | Yes
| Heroy Building | Air Handler Unit | CS-082 | Mechanical room G02ME | 32.846394, -96.784223 |  | x | X |  |  | Yes
| Heroy Building | Tunnel | CS-083 | Mechanical room G02ME | 32.846394, -96.784223 |  | x |  |  | X | Yes
| Hughes Trigg Student Center to north of Fincher | Tunnel | CS-084 |  |  |  | x |  |  | x | Yes | Yes
| Hughes-Trigg s Student Center | Transformer Vaults | CS-085 | North of building between outside stairs |  |  | x | x |  | x | Yes | Yes
| Hughes-Trigg Student Center (Centennial Hall) | Medium Voltage Vaults | CS-086 | South of Hughes Trigg at street |  |  | x | x |  | x | Yes | Yes
| Hughes-Trigg Student Center (Centennial Hall) | Storm Sumps | CS-087 |  |  |  | x |  |  | x | Yes | Yes
| Hyer Hall | Medium Voltage Vaults | CS-088 | Empty vault east side of Hyer |  |  | x | x |  | x | Yes | Yes
| Junkins Engineering Building | Transformer Vaults | CS-089 |  |  |  | x | x |  | x | Yes | Yes
| Junkins Engineering Building | Storm Sumps | CS-090 |  |  |  | x |  |  | x | Yes | Yes
| Kirby Hall | Storm Sumps | CS-091 |  |  |  | x |  |  | x | Yes | Yes
| Kirby Hall, Martin Hall, Hawk Hall, Selecman Hall | Transformer Vaults | CS-092 | west of building in parking lot |  |  | x | x |  | x | Yes | Yes
| Letterman | Transformer Vaults | CS-093 |  |  |  | x | x |  | x | Yes | Yes
| Martin Hall | Heat Exchanger Tank Manways | CS-094 |  |  |  | x |  | x | x | Yes | Yes
| Martin Hall | Storm Sumps | CS-095 |  |  |  | x |  |  | x | Yes | Yes
| Mary Hay Hall | Storm Sumps | CS-096 |  |  |  | x |  |  | x | Yes | Yes
| McElvaney Commons | Transformer Vaults | CS-097 | outside north of Mac's |  |  | x | x |  | x | Yes | Yes
| McElvaney Commons | Heat Exchanger Tank Manways | CS-098 |  |  |  | x |  | x | x | Yes | Yes
| McElvaney Commons | Storm Sumps | CS-099 |  |  |  | x |  |  | x | Yes | Yes
| McFalin Auditorium | Heat Exchanger Tank Manways | CS-100 |  |  |  | x |  | x | x | Yes | Yes
| McFarlin Auditorium | Transformer Vaults | CS-101 | south side of building near street |  |  | x | x |  | x | Yes | Yes
| McFarlin Auditorium | Mechanical Vaults | CS-102 |  |  |  | x | x |  | x | Yes | Yes
| Meadow Museum | Storm Sumps | CS-103 |  |  |  | x |  |  | x | Yes | Yes
| Moody Coliseum | Transformer Vaults | CS-104 | north east and south west in building |  |  | x | x |  | x | Yes | Yes
| Moody Coliseum | Medium Voltage Vaults | CS-105 | 4 man holes surrounding Moody |  |  | x | x |  | x | Yes | Yes
| Moore Hall | Transformer Vaults | CS-106 | north east of building at parking lot |  |  | x | x |  | x | Yes | Yes
| Moore Hall | Storm Sumps | CS-107 |  |  |  | x |  |  | x | Yes | Yes
| Moore Hall South to United Methodist Church | Tunnel | CS-108 |  |  |  | x |  |  | x | Yes | Yes
| Morrison McGinnis Commons | Transformer Vaults | CS-109 | east side of building |  |  | x | x |  | x | Yes | Yes
| Morrison-McGinnis Commons | Storm Sumps | CS-110 |  |  |  | x |  |  | x | Yes | Yes
| North side of OFAC at Sump West to Main Tunnel | Tunnel | CS-111 |  |  |  | x |  |  | x | Yes | Yes
| Owen Arts Center | Storm Sumps | CS-112 |  |  |  | x |  |  | x | Yes | Yes
| Owen Arts Center | Storm Sumps | CS-113 |  |  |  | x |  |  | x | Yes | Yes
| Patterson Hall | Medium Voltage Vaults | CS-114 | 2 man holes in street north of patterson |  |  | x | x |  | x | Yes | Yes
| Patterson Hall | Boiler Manways | CS-115 |  |  |  | x |  | x | x | Yes | Yes
| Patterson Hall | Boiler Manways | CS-116 |  |  |  | x |  | x | x | Yes | Yes
| Patterson Hall | Boiler Manways | CS-117 |  |  |  | x |  | x | x | Yes | Yes
| Patterson Hall | DA Heater Manways | CS-118 |  |  |  | x |  | x | x | Yes | Yes
| Patterson Hall | DA Heater Manways | CS-119 |  |  |  | x |  | x | x | Yes | Yes
| Patterson Hall | Water Storage Manways | CS-120 |  |  |  | x |  |  | x | Yes | Yes
| Patterson Hall | Water Storage Manways | CS-121 |  |  |  | x |  |  | x | Yes | Yes
| Patterson Hall | Water Storage Manways | CS-122 | Under the abandoned DA heater |  |  | x |  |  | x | Yes | Yes
| Patterson Hall | Water Storage Manways | CS-123 | RO system |  |  | x |  |  | x | Yes | Yes
| Patterson Hall | Water Storage Manways | CS-124 | RO system |  |  | x |  |  | x | Yes | Yes
| Patterson Hall | Water Storage Manways | CS-125 | RO system |  |  | x |  |  | x | Yes | Yes
| Patterson Hall to Fondren Library | Tunnel | CS-126 |  |  |  | x |  |  | x | Yes | Yes
| Perkins Administration Building | Mechanical Vaults | CS-127 |  |  |  | x | x |  | x | Yes | Yes
| Perkins Hall | Heat Exchanger Tank Manways | CS-128 |  |  |  | x |  | x | x | Yes | Yes
| Perkins Hall | Storm Sumps | CS-129 |  |  |  | x |  |  | x | Yes | Yes
| Perkins Nat | Transformer Vaults | CS-130 | north of building at west door |  |  | x | x |  | x | Yes | Yes
| Peyton Hall / Mary Hay Hall | Transformer Vaults | CS-131 | north east of building at parking lot |  |  | x | x |  | x | Yes | Yes
| Prothro Hall | Storm Sumps | CS-132 |  |  |  | x |  |  | x | Yes | Yes
| Selecman Hall | Storm Sumps | CS-133 |  |  |  | x |  |  | x | Yes | Yes
| Selecman Hall | Storm Sumps | CS-134 |  |  |  | x |  |  | x | Yes | Yes
| Shuttles Hall | Storm Sumps | CS-135 |  |  |  | x |  |  | x | Yes | Yes
| Shuttles Hall Virginia Hall | Transformer Vaults | CS-136 | west side of building north end |  |  | x | x |  | x | Yes | Yes
| Smith Hall | Heat Exchanger Tank Manways | CS-137 |  |  |  | x |  | x | x | Yes | Yes
| Smith Hall | Storm Sumps | CS-138 |  |  |  | x |  |  | x | Yes | Yes
| Smith Health Center | Transformer Vaults | CS-139 | north side of building west end |  |  | x | x |  | x | Yes | Yes
| Smith Health Center | Storm Sumps | CS-140 |  |  |  | x |  |  | x | Yes | Yes
| Snider Commons | Mechanical Vaults | CS-141 |  |  |  | x | x |  | x | Yes | Yes
| Storey Hall | Air Handler Unit | CS-142 | Attic |  |  | x | X |  |  | Yes
| Storey Hall | Air Handler Unit | CS-143 | Attic |  |  | x | X |  |  | Yes
| Storey Hall | Electrical Vault | CS-144 | North of building in parking lot | 32.846509, -96.786113 |  | x | X |  |  | Yes
| Storey Hall | Storm Sump | CS-145 | North of building in parking lot | 32.846509, -96.786113 |  | x |  |  | X | Yes
| Storey Hall | Air Handler Unit | CS-146 | Mechanical room 28 | 32.846310, -96.786153 |  | x | X |  |  | Yes
| Storey Hall | Air Handler Unit | CS-147 | Mechanical room 28 | 32.846310, -96.786153 |  | x | X |  |  | Yes
| Storey Hall | Tunnel | CS-148 | Mechanical room 28 | 32.846309, -96.786164 |  | x |  |  | X | Yes
| Storey Hall | Air Handler Unit | CS-149 | Mechanical room 31A | 32.846330, -96.785931 |  | x | X |  |  | Yes
| Storey Hall | Air Handler Unit | CS-150 | Mechanical room 2 | 32.846319, -96.786337 |  | x | X |  |  | Yes
| Storey Hall | Crawl Space | CS-151 | Mechanical room 2 | 32.846319, -96.786337 |  | x |  |  | X | Yes
| Tennis Center | Storm Sumps | CS-152 |  |  |  | x |  |  | x | Yes | Yes
| Umphrey Lee Center | Transformer Vaults | CS-153 | North of building near street |  |  | x | x |  | x | Yes | Yes
| Umphrey Lee Center | Storm Sumps | CS-154 |  |  |  | x |  |  | x | Yes | Yes
| Umphrey Lee Center | Storm Sumps | CS-155 |  |  |  | x |  |  | x | Yes | Yes
| Underwood Law Library | Fire Sprinkler Vault | CS-156 | North of building | 32.846522, -96.786478 |  | x | X |  |  | Yes
| Underwood Law Library | Electrical Vault | CS-157 | Southeast of building | 32.845678, -96.786506 |  | x | X |  |  | Yes
| Underwood Law Library | Air Handler Unit | CS-158 | Mechanical room B02ME | 32.845769, -96.786485 |  | x | X |  |  | Yes
| Underwood Law Library | Storm Sump | CS-159 | Equipment room? | 32.846024, -96.786560 |  | x |  |  | X | Yes
| Underwood Law Library | Storm Sump | CS-160 | Equipment room? | 32.846024, -96.786560 |  | x |  |  | X | Yes
| Underwood Law Library | Air Handler Unit | CS-161 | Fire pump room | 32.845959, -96.786647 |  | x | X |  |  | Yes
| Underwood Law Library | Air Handler Unit | CS-162 | Fire pump room | 32.845959, -96.786647 |  | x | X |  |  | Yes
| Underwood Law Library | Air Handler Unit | CS-163 | Fire pump room | 32.845959, -96.786647 |  | x | X |  |  | Yes
| Underwood Law Library | Tunnel | CS-164 | Fire pump room | 32.846074, -96.786617 |  | x |  |  | X | Yes
| Underwood Law Library | Crawl Space | CS-165 | Fire pump room | 32.846074, -96.786617 |  | x |  |  | X | Yes
| Underwood Law Library | Tunnel | CS-166 | Fire pump room | 32.846074, -96.786617 |  | x |  |  | X | Yes
| Underwood Law Library | Air Handler Unit | CS-167 | Attic |  |  | x | X |  |  | Yes
| Underwood Law Library | Air Handler Unit | CS-168 | Attic |  |  | x | X |  |  | Yes
| Underwood Law Library | Air Handler Unit | CS-169 | Attic |  |  | x | X |  |  | Yes
| Underwood Law Library | Air Handler Unit | CS-170 | Attic |  |  | x | X |  |  | Yes
| Virginia-Snider Commons | Mechanical Vaults | CS-171 |  |  |  | x | x |  | x | Yes | Yes