Laboratory Audit Checklist

| Requirements | Findings |
| --- | --- |
| Hazardous Communication |  |
| Are entrances marked with NFPA 704 and other appropriate signs? |  |
| Are entrances to regulated areas where the 13 carcinogens listed at 1910.1003 are present marked to read “CANCER-SUSPECT AGENT, AUTHORIZED PERSONNEL ONLY”? |  |
| Is the appropriate sign used to identify high radiation area? |  |
| Is a sign bearing the radiation caution symbol and the words “CAUTION: RADIOACTIVE MATERIALS” posted as required? |  |
| Are containers containing radioactive material labeled as required? |  |
| Are all chemical containers marked with contents name and hazards? |  |
| Are all the cylinders marked to clearly identify the gas contained? |  |
| Are all the cylinders stored in areas protected from external heat sources? |  |
| Are empty compressed gas cylinders appropriately marked? |  |
| Refrigerator/Freezer/Microwave used for chemical storage/process appropriately labeled “Not for Food/Drink”? |  |
| Do the lab personnel know how to access material safety data sheets? |  |
| Exposure Control |  |
| Is there an emergency eye wash and shower within the immediate work area where employees are exposed to corrosive materials? |  |
| Is the eye wash and shower unobstructed? |  |
| Is the inventory of controlled substances & glassware up-to-date? |  |
| Does the lab use or handle Perchloric acid? Is a Perchloric acid hood provided and used? |  |
| Are all the fume hoods inspected for proper/adequate flow rate and face velocity? |  |
| Are doors leading to the corridors closed? |  |
| Are fire extinguishers accessible, wall-mounted, annually certified & inspected monthly? |  |
| Are gas cylinders secured properly? |  |
| Is the amount of material in the fume hood minimal? |  |
| Personal Protective Equipment |  |
| Appropriate PPE used [Lab Coat, Gloves, Approved eye protection, Adequate shoes (no sandals)]? |  |
| Is personal protective equipment maintained in a sanitary condition? |  |
| Are respirators used in the lab? Is the respiratory protection program approved before use? |  |
| Hazardous Materials Storage & Handling |  |
| Are all flammable liquids kept in closed containers when not in use (e.g., parts cleaning tanks, pans, etc.)? |  |
| Are all spilled materials or liquids cleaned up immediately? |  |
| Are peroxide-forming chemicals dated when opened (ethers)? |  |
| Is secondary containment used when necessary? |  |
| Is general housekeeping used? |  |
| Are all flames attended? |  |
| Are employees prohibited from eating in areas where hazardous chemicals are present? |  |
| Waste Management |  |
| Is each hazardous waste container kept closed, except when adding or removing waste? |  |
| Is each accumulation container labeled with the words “Hazardous Waste”? |  |
| Is each accumulation container labeled with the date accumulation begun? |  |
| Are hazardous waste containers in good condition? |  |
| Are hazardous waste containers and areas where they are stored, inspected for leaks at least weekly? |  |
| Is there adequate aisle space between containers (18 inches between single stacked drums and 30 inches between double or triple stacked drums). |  |
| Are needles, razor blades, broken glass, and pipettes disposed of in an approved sharps container? |  |
| Emergency Procedures |  |
| Is the necessary emergency equipment available (fire extinguishers, spill control supplies)? |  |
| Is there an emergency evacuation plan posted in the lab? |  |
| Is emergency information posted near a telephone? |  |
| Do lab personnel know the proper procedures if an injury/incident occur? |  |
| Do lab personnel know how to contact Environmental Health and Safety? |  |
| Has the lab personnel completed Laboratory Safety Fundamentals Training? |  |